## Sheet1
Image details:
1024 x 1024 16-bit image
Filled with "noise" in ImageJ
1 mm pixel size
32 records
128 pixel record size
350 mm record radius
ImageJ stats for the image:
Mean | StdDev | Variance
32758.5567 | 7924.7374 | 62801462.3155
NPS results:
Freq (mm^-1) | Measured NPS |  | % diff NPS to variance | Image variance | For white (Gaussian) noise, power should be equal to the variance (I think)
0 | 10654321.218 |  | -83.0349 | 62801462.3155
0.01 | 45262282.301 |  | -27.928 | 62801462.3155
0.02 | 61277069.747 |  | -2.4273 | 62801462.3155
0.03 | 62220773.347 |  | -0.92464 | 62801462.3155
0.04 | 62233609.304 |  | -0.9042 | 62801462.3155
0.05 | 60233608.743 |  | -4.0888 | 62801462.3155
0.06 | 61261458.913 |  | -2.4522 | 62801462.3155
0.07 | 64277870.899 |  | 2.3509 | 62801462.3155
0.08 | 63340378.011 |  | 0.85813 | 62801462.3155
0.09 | 61928029.341 |  | -1.3908 | 62801462.3155
0.1 | 63541936.339 |  | 1.1791 | 62801462.3155
0.11 | 63429120.846 |  | 0.99943 | 62801462.3155
0.12 | 62180925.681 |  | -0.98809 | 62801462.3155
0.13 | 62792843.366 |  | -0.013724 | 62801462.3155
0.14 | 61893267.804 |  | -1.4461 | 62801462.3155
0.15 | 62100379.171 |  | -1.1163 | 62801462.3155
0.16 | 62570370.791 |  | -0.36797 | 62801462.3155
0.17 | 62423125.327 |  | -0.60243 | 62801462.3155
0.18 | 62346491.917 |  | -0.72446 | 62801462.3155
0.19 | 61533288.556 |  | -2.0193 | 62801462.3155
0.2 | 62470683.186 |  | -0.52671 | 62801462.3155
0.21 | 63800501.484 |  | 1.5908 | 62801462.3155
0.22 | 63975639.112 |  | 1.8697 | 62801462.3155
0.23 | 63558862.875 |  | 1.206 | 62801462.3155
0.24 | 63735757.892 |  | 1.4877 | 62801462.3155
0.25 | 63262696.618 |  | 0.73443 | 62801462.3155
0.26 | 63014632.476 |  | 0.33944 | 62801462.3155
0.27 | 63275840.987 |  | 0.75536 | 62801462.3155
0.28 | 63371944.383 |  | 0.90839 | 62801462.3155
0.29 | 63899630.511 |  | 1.7486 | 62801462.3155
0.3 | 64115378.272 |  | 2.0922 | 62801462.3155
0.31 | 63482709.136 |  | 1.0848 | 62801462.3155
0.32 | 62578756.979 |  | -0.35462 | 62801462.3155
0.33 | 62987723.585 |  | 0.29659 | 62801462.3155
0.34 | 62600920.486 |  | -0.31933 | 62801462.3155
0.35 | 62225134.541 |  | -0.9177 | 62801462.3155
0.36 | 62157156.928 |  | -1.0259 | 62801462.3155
0.37 | 62338532.994 |  | -0.73713 | 62801462.3155
0.38 | 62148073.857 |  | -1.0404 | 62801462.3155
0.39 | 62353462.216 |  | -0.71336 | 62801462.3155
0.4 | 62434497.643 |  | -0.58433 | 62801462.3155
0.41 | 61890222.977 |  | -1.451 | 62801462.3155
0.42 | 61673974.227 |  | -1.7953 | 62801462.3155
0.43 | 62552710.854 |  | -0.39609 | 62801462.3155
0.44 | 63590239.044 |  | 1.256 | 62801462.3155
0.45 | 63526102.526 |  | 1.1539 | 62801462.3155
0.46 | 63936700.974 |  | 1.8077 | 62801462.3155
0.47 | 64039731.318 |  | 1.9717 | 62801462.3155
0.48 | 63324571.833 |  | 0.83296 | 62801462.3155
0.49 | 62338808.911 |  | -0.73669 | 62801462.3155
0.5 | 62799616.879 |  | -0.0029385 | 62801462.3155
0.51 | 63253243.901 |  | 0.71938 | 62801462.3155
0.52 | 62884950.724 |  | 0.13294 | 62801462.3155
0.53 | 62410984.075 |  | -0.62177 | 62801462.3155
0.54 | 62298424.056 |  | -0.801 | 62801462.3155
0.55 | 64056389.91 |  | 1.9982 | 62801462.3155
0.56 | 64343689.287 |  | 2.4557 | 62801462.3155
0.57 | 62272240.152 |  | -0.84269 | 62801462.3155
0.58 | 61758946.457 |  | -1.66 | 62801462.3155
0.59 | 63682542.562 |  | 1.403 | 62801462.3155
0.6 | 64290540.094 |  | 2.3711 | 62801462.3155
0.61 | 63375197.413 |  | 0.91357 | 62801462.3155
0.62 | 62731400.994 |  | -0.11156 | 62801462.3155
0.63 | 60698610.577 |  | -3.3484 | 62801462.3155
0.64 | 59595240.573 |  | -5.1053 | 62801462.3155
0.65 | 60264320.262 |  | -4.0399 | 62801462.3155
0.66 | 62017374.429 |  | -1.2485 | 62801462.3155
0.67 | 61211968.012 |  | -2.531 | 62801462.3155
0.68 | 57114269.524 |  | -9.0558 | 62801462.3155
0.69 | 63094946.518 |  | 0.46732 | 62801462.3155
0.7 | 68940888.433 |  | 9.7759 | 62801462.3155